Appendix 5

Adopted 01-09-2006

COOMET PROGAMM OF COMPARISONS AND CALIBRATIONS

PART I

PROGAMM OF COOMET MEASUREMNT STANDARDS COMPARIOSNS

- PLANNED COMPARISONS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 1 | Key Comparison of the National Measurement Standards of the vibration parameters units (in regard to the vibration acceleration) in the frequency range from 20 Hz to 5 kHz | AUV | key | 308/UA/04 | COOMET. AUV.V-K1 | 21.1.1; 21.2.1; 21.3.1; 21.4.1 | 2006 | VNIIM Smirnov V. 19 Moskovsky av, 190005, Saint-Petersburg, Russia Phone: (812) 3239629, 4220159 Fax: (812) 1130114 smirnov.2520@vniim.ru | VNIIM Russia | Preliminary stage, invitation for participating |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | GUM, Poland |  |
|  |  |  |  |  |  |  |  |  | DNDI «Systema» Ukraine |  |
|  |  |  |  |  |  |  |  |  | VNIIFTRI Russia |  |
|  |  |  |  |  |  |  |  |  | INM Romania |  |

PLANNED COMPARISONS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 2 | Сличение национальных эталонов единиц электрической емкости и тангенса угла потерь | EM | Ключевое | 345/UA/05 | COOMET.EM-K4 | 4.2.1 | 2006 | Укрметртестстандарт О.Ахмадов 03143, Киев Метрологическая ул., 4 Украина Тел: +38 0 44 526 55 68 Факс: +38 0 44 526 55 68 ermatec@ukrcsm.kiev.ua | Ukrmetrteststandast Ukraine |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | NCM Bulgaria |  |
|  |  |  |  |  |  |  |  |  | INM(Ro) Romania |  |
| 3 | Сличение национальных эталонов единиц электрической емкости и тангенса угла потерь | EM | дополнительное | 345/UA/05 | COOMET.EM-S4 |  |  | Укрметртестстандарт О.Ахмадов 03143, Киев Метрологическая ул., 4 Украина Тел: +38 0 44 526 55 68 Факс: +38 0 44 526 55 68 ermatec@ukrcsm.kiev.ua | Ukrmetrteststandast Ukraine |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | NCM Bulgaria |  |
|  |  |  |  |  |  |  |  |  | INM(Ro) Romania |  |
| 4 | Comparison of interferometers End standard Length: 1000 mm | L | Supplementary | 278/Ua/03 | COOMET.L-S4 | 2.2.2 | 2006 | NSC IM Zimokosov G. 61002, Kharkov, Mironositskaya St., Ukraine Phone:+380 572 403352 Fax: +380 57 7003447 solovyov@metrology Kharkov.ua | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | VNIIM Russia |  |
| 5 | Comparison of comparators with photoelectric microscopes | L | Supplementary | 277/Ua/03 | COOMET.L-S1 | 2.3.1 | 2006 | NSC IM Zimokosov G. 61002, Kharkov, Mironositskaya St., Ukraine Phone:+380 572 403352 Fax: +380 57 7003447 solovyov@metrology Kharkov.ua | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | VNIIM Russia |  |

PLANNED COMPARISONS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 6 | Comparison of interferometers End standard Length: 100 mm | L | Supplementary | 265/Ua/02 | COOMET.L-S3 | 2.2.1 | 2006 | NNC IM Zimokosov G. 61002, Kharkov, Mironositskaya St., Ukraine Phone:+380 572 403352 Fax: +380 57 7003447 solovyov@metrology Kharkov.ua | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
| 7 | Comparison of gear standards | L | Supplementary | 109/Ua/92 314/Ua/04 | COOMET.L-S2 | 5.3.1-5.3.5 | 2006 | NNC IM Gafanovich G. 61002, Kharkov, Mironositskaya St., Phone:+380 572 403352 Fax: +380 57 7003447 gafanovich@metrology Kharkov.ua | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
| 8 | Comparison of plate standards | L | Supplementary | 313/Ua/04 | - | 4.1.1 | 2006 | NNC IM Gafanovich G. 61002, Kharkov, Mironositskaya St., Phone:+380 572 403352 Fax: +380 57 7003447 gafanovich@metrology Kharkov.ua | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |

PLANNED COMPARISONS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 9 | Performance of comparison measurements of testing standard equipment working in the gas flowrate range: A) (0,06 - 10) m3.h-1 B) (100 - 1000) m3.h-1 | F | Supplementary | 219/SK-a/00 | - | 9.2.1 | 2006 | SMU Slovak Institute of Metrology, Makovník Štefan, Karloveská 63, 842 55 Bratislava, SLOVAKIA, Tel: + 421 2 6029 4337, Fax: + 421 2 6029 4332, E-mail: makovnik@smu.gov.sk | SMU, Slovakia |  |
|  |  |  |  |  |  |  |  |  | PTB, Germany |  |
|  |  |  |  |  |  |  |  |  | LEI, Lithuania |  |
|  |  |  |  |  |  |  |  |  | BelGIM, Belarus |  |
|  |  |  |  |  |  |  |  |  | VNIIR, Russia |  |
|  |  |  |  |  |  |  |  |  | SE “Ivano-Frankovsk standardmetrology”, Ukraine |  |
|  |  |  |  |  |  |  |  |  | NISM, Moldovia |  |
|  |  |  |  |  |  |  |  |  | INIMET, Cuba |  |
| 10 | Comparisons of precision photometers used for measuring luminous intensity and illumination | PR | Key | 299/BY/03 | - | 1.1.1. | 2006 | BelGIM Tarasova O. 93, Starovilensky trakt, Minsk, 220053, Belarus phone. 234-98-20 fax: 2880938 optic@belgim.belpak.minsk.by | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | VNIIOFI Russia |  |

PLANNED COMPARISONS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 11 | Pilot comparisons in the field of electrical conductivity measurements | QM | Pilot | 361/RU/06 (agreed)) | - | 7 | 2007 | VNIIM Konopelko L.A. 19 Moskovsky av, 190005, Saint-Petersburg, Russia phone:(7-812) 315 11 45 fax: (7-812) 327 97 76 lkonop@b10.vniim.ru | VNIIM (Russia) |  |
|  |  |  |  |  |  |  |  |  | VNIIFTRI (Russia) |  |
|  |  |  |  |  |  |  |  |  | Ukrmetrteststandast (Ukraine) |  |
|  |  |  |  |  |  |  |  |  | BelGIM (Belarus) |  |
|  |  |  |  |  |  |  |  |  | SMU (Slovakia) |  |
| 12 | Pilot comparisons in the field of measuring the aqueous glucose solutions | QM | Pilot | 362/RU/06 (proposed) | - | 10 | 2006 | VNIIM Konopelko L.A. 19 Moskovsky av, 190005, Saint-Petersburg, Russia phone:(7-812) 315 11 45 fax: (7-812) 327 97 76 lkonop@b10.vniim.ru | VNIIM (Russia) |  |
|  |  |  |  |  |  |  |  |  | VNIIFTRI (Russia) |  |
|  |  |  |  |  |  |  |  |  | Ukrmetrteststandast (Ukraine) |  |
|  |  |  |  |  |  |  |  |  | BelGIM (Belarus) |  |
| 13 | Pilot comparisons in the field of blood elements studies | QM | Pilot | 367/RU/06 (proposed) | - | 10 | 2006 | VNIIM Konopelko L.A. 19 Moskovsky av, 190005, Saint-Petersburg, Russia phone:(7-812) 315 11 45 fax: (7-812) 327 97 76 lkonop@b10.vniim.ru | VNIIM (Russia) and other countries-members of COOMET |  |

COMPARISONS IN PROGRESS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 1 | Comparison of primary calibrations of microphones according to in the frequency range from 63 Hz to 10 kHz | AUV | Key | 226/DE/01 | COOMET. AUV.A-K1 | 1.1.1; 2.1.1; 3.1.1; 2.2.1; 3.1.2; 4.1.1; 6.1.1 | 2002 | PTB, T.Fedtke PTB, 19Lab 1.41 Bundesallee 100 D-38116 Braunschweig, Germany Phone: +49 (0) 531 592 1511 Fax:+49 (0) 531 592 69 1511 thomas.fedtke@ptb.de | PTB Germany | Draft B in progress |
|  |  |  |  |  |  |  |  |  | GUM, Poland |  |
|  |  |  |  |  |  |  |  |  | VNIIFTRI Russia |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | UME Turkey |  |
|  |  |  |  |  |  |  |  |  | DNDI «Systema» Ukraine |  |
| 2 | Bilateral Comparison of primary calibrations of microphones according to in the frequency range from 63 Hz to 10 kHz | AUV | Key | 316/UA/04 | COOMET. AUV.A-K1.1 | 1.1.1; 2.1.1; 3.1.1; 2.2.1; 3.1.2; 4.1.1; 6.1.1 | 2004 | PTB, T.Fedtke PTB, 19Lab 1.41 Bundesallee 100 D-38116 Braunschweig, Germany Phone: +49 (0) 531 592 1511 Fax:+49 (0) 531 592 69 1511 E-mail: thomas.fedtke@ptb.de | PTB Germany | Draft A in progress |
|  |  |  |  |  |  |  |  |  | DNDI «Systema» Ukraine |  |
| 3 | Comparison for the primary method of pressure calibration laboratory standard microphones in the range of frequencies from 20 Hz to 20 kHz | AUV | key | 323/UA/04 | COOMET. AUV.A-K3 | 1.1.1; 2.1.1; 2.2.1; 3.1.1; 3.1.2; 4.1.1 | 2005 | DPLA K. Rasmussen Department of Acoustic Technology Oersteds Plads Bldg. 352, DTU DK-2800 Kgs. Lyngby, Denmark Phone: + 45 45 25 39 37 Fax: + 45 45 88 05 77 E-mail: kr@oersted.dtu.dk | DPLA Denmark | TP working out |
|  |  |  |  |  |  |  |  |  | DNDI «Systema» Ukraine |  |
|  |  |  |  |  |  |  |  |  | GUM, Poland |  |
|  |  |  |  |  |  |  |  |  | VNIIFTRI Russia |  |
|  |  |  |  |  |  |  |  |  | INM Romania |  |

IN PROGRESS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 4 | Bilaterial comparison by method of pressure calibration of microphones type WS1 and WS2 using electrostatic actuator method | AUV | Pilot | 337/BY/05 | - | 1.1.1 | 2005 | BelGIM Pozdeeva V. 93, Starovilensky trakt, Minsk, 220053, Belarus phone. +375 17 288 07 35 fax: . +375 17 288 09 38 vpozdeeva@belgim.belpak.minsk.by | VNIIFTRI Russia | Draf A in progress The second round is possible |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
| 5 | Comparison of AC/DC voltage transfer standards | ЕМ | Supplementary | 273/RU-a/03 | COOMET.EM-S1 | 5.1.2 | 2004 | VNIIM Telitchenko G. 19 Moskovsky av, 190005, Saint-Petersburg, Russia Phone. +7-812-323-96-20 Fax:+7-812-143-01-14 G.P.Telitchenko@vniim.ru | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | Ukrmetrteststandast Ukraine |  |
| 6 | Comparison of range-finder equipment of higher precision | L | Supplementary | 283/Ua/03 | COOMET.L-S5 | 6.4.1 | 2004 | NSC IM Kupko V.. 61002, Kharkov, Mironositskaya St., Phone: 38 057 704 98 54 Fax:38 057 700 34 47 kupko@metrology Kharkov.ua | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |

IN PROGRESS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 7 | Comparison of mass standards (1 kg) | M | Key | 257/SK/02 | COOMET.M.M-K1 | 1.1.1 | 2002 | SMU R. R.Spurny Karloveska 63 842 55 Bratislava, Slovakia (Slovak Republic) Phone: +421 260 294 350 Fax: +421 265 429 592 spurny@smu.gov.sk | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | PTB Germany |  |
|  |  |  |  |  |  |  |  |  | GUM, Poland |  |
|  |  |  |  |  |  |  |  |  | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | VMT Lithuania |  |
|  |  |  |  |  |  |  |  |  | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | PTB Germany |  |
| 8 | Pressure measurements in gas (gauge mode) | М | Key | 294/RU/03 | COOMET.M.P-K1 | 3.2.1 | 2004 | VNIIM Kiselev Yu. 19 Moskovsky av, 190005, Saint-Petersburg, Russia Phone/fax +7 812 323 96 29 v.n.gorobey@vniim.ru | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | PTB Germany |  |
|  |  |  |  |  |  |  |  |  | VMT Lithuania |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | INM Romania |  |
| 9 | Comparisons of Vickers Hardness Scales | М | Key | 303/DE/04 | COOMET.M.H-K1.b COOMET.M.H-K1.b | 7.1.1 | 2004 | PTB K.Hermann Bundesallee 100 D-38116 Braunschweig, Germany Phone: +49 (0) 531 592 5140 Fax: +49 (0) 531 592 5105 :konrad.herrmann@ptb.de | PTB Germany | Draft B in progress |
|  |  |  |  |  |  |  |  |  | VNIIFTRI Russia |  |
| 10 | International Comparisons of the National Pressure Standards in the Field of Gauge Pressure in the range (10 - 100) MPa | М | Key | 331/LT/05 | COOMET. M.P-K2 | 3.2.1 | 2006 | VMC K.Dapkeviciene S.Dariaus and S.Gireno, 23, LT-02189, Lithuania Phone. +370 5 230 6276 Fax +370 5 230 63 64 pressure@vmc.lt | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | BelGIM `Belarus |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
|  |  |  |  |  |  |  |  |  | VMT Lithuania |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | NPL UK |  |

IN PROGRESS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 11 | Viscosity measurements of standard liquids | М | Ключевое | 333/RU/05 | COOMET.M.V-K1 | 6.1.1 6.2.1 6.3.1 | 2005 | VNIIM N.DOmostroeva 19 Moskovsky av, 190005, Saint-Petersburg, Russia phone. +7 812 323 96 71 fax. +7 812 323 96 71 n.g.domostroeva@vniim.ru | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | NCM Bulgaria |  |
| 12 | International comparisons of standards reference materials - gas mixtures, containing CO2, CO, C3H8 in nitrogen (automobile gases) | QM | Key | 312/Ru/04 | COOMET. QM-K3 | 4.2 | 2004 | VNIIM Konopelko L. 19 Moskovsky av, 190005, Saint-Petersburg, Russia phone:(7-812) 315 11 45 fax: (7-812) 327 97 76 lkonop@mail.rcom.ru | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | Ukrmetrteststandast Ukraine |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
| 13 | Comparisons of phosphate potassium (KH2PO4) and phosphate sodium (Na2HPO4)reference buffer aqua solutions at the temperatures 15°C, 25°C, and 37°C. | QM | Pilot | 322/Ru/04 | - | 6 | 2005 | VNIIFTRI Karpov O. Mendeleevo, Moscow region 141570 Russia Phone: (095) 535 08 62 Fax: (095) 534 00 84 mera@vniiftri.ru | VNIIFTRI Russia | Draft A in Progress The second round is possible |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
| 14 | Regional Key Comparison of National Measurement Standards of Air Kerma for Co-60 Gamma-Radiation Energy | RI | Key | 319/Ru/04 | COOMET. RI(I)-K1 | 1.7.7 | 2006 | PTB, L.Bueermann PTB, 19Lab 1.41 Bundesallee 100 D-38116 Braunschweig, Germany Phone: +49 531 592 6620 FAX: +49 531 592 6015 ludwig.bueermann@ptb.de | РТВ Germany |  |
| 15 | Comparisons of Rn-222 volume activity primary standard | RI | Supplementary | 169/UA/98 | COOMET. RI(II)-S1.Rn-222 | 2.4.2.1-Rn-222 | 2005 | NSC IM Sklyarov V. 61002, Kharkov, Mironositskaya St., Phone. +38-067-970-21-31 Fax: +38-057-700-34-47 svv@metrology.kharkov.ua | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | VNIIFTRI Russia |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | RMTC Latvia |  |
|  |  |  |  |  |  |  |  |  | PTB Germany |  |

IN PROGRESS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 16 | Comparison measurements of radionuclide volume sources (Cs-137) | RI | Supplementary | 319/Ru/04 | COOMET. RI(II)-S2. Cs-137 | 2.2.4.2-Cs-137 | 2005 | VNIIFTRI Korostin S. Mendeleevo, Moscow region 141570 Russia Phone: (095) 535 93 05 Fax: (095) 744 81 75 ir@vniiftri.ru | VNIIFTRI Russia |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | NCM Bulgaria |  |
|  |  |  |  |  |  |  |  |  | CENTIS-DMR CUba |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
|  |  |  |  |  |  |  |  |  | RMTC Latvia |  |
|  |  |  |  |  |  |  |  |  | МoE-ISR Israel |  |
| 17 | Comparison measurements of radionuclide volume sources (Eu-152) | RI | Supplementary | 319/Ru/04 | COOMET. RI(II)-S2. Cs-152 | 2.2.4.1-Eu-152 | 2005 | VNIIFTRI Korostin S. Mendeleevo, Moscow region 141570 Russia Phone: (095) 535 93 05 Fax: (095) 744 81 75 ir@vniiftri.ru | VNIIFTRI Russia |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | NCM Bulgaria |  |
|  |  |  |  |  |  |  |  |  | CENTIS-DMR CUba |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
|  |  |  |  |  |  |  |  |  | RMTC Latvia |  |
|  |  |  |  |  |  |  |  |  | МoE-ISR Israel |  |
| 18 | Comparison measurements of radionuclide volume sources (Sr/Y-90) | RI | Supplementary | 319/Ru/04 | COOMET. RI(II)-S2. Sr/Y-90 | 2.2.4.1-Sr/Y-90 2.2.4.2-Sr/Y-90 | 2005 | VNIIFTRI Korostin S. Mendeleevo, Moscow region 141570 Russia Phone: (095) 535 93 05 Fax: (095) 744 81 75 ir@vniiftri.ru | VNIIFTRI Russia |  |
|  |  |  |  |  |  |  |  |  | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | РТВ Germany |  |
|  |  |  |  |  |  |  |  |  | МoE-ISR Israel |  |

IN PROGRESS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 19 | Activity concentration of the same Am-241 solution | RI | Key | 359/RU/06 | COOMET.RI(II)-K2.Am-241 | 2.2.3.1-Am-241 | 2006 | VNIIM I.Kharitonov 19 Moskovsky av, 190005, Saint-Petersburg, Russia Phone. +7 812 323 96 11 Fax. +7 812 323 96 17 khia@vniim.ru | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | CENTIS-DMR Cuba |  |
| 20 | Comparison of ITS-90 realizations by partners in the range 234,3156 to 429,7485 К | T | Key | 227/RU/01, 229/UA/01 | COOMET.T.-K3 | 1.1.1, 1.3.1,1.3.2, 2.2.2, 2.3.1 | 2001 | VNIIM Pokhodun A. 19 Moskovsky av, 190005, Saint-Petersburg, Russia Phone/Fax 107 812 315 5207 A.I.Pokhodun@vniim.ru | VNIIM Russia |  |
|  |  |  |  |  |  |  |  |  | NSC IM Ukraune |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | SMU Slovakia |  |
|  |  |  |  |  |  |  |  |  | INIMET Cuba |  |

3. COMPLITED COMPARISONS

| № | Name | Subject field | Type | COOMET project No | KCDB reference | CMCs supported | Date of start | NMI- pilot, contact person | Participants | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 1 | Comparisons of national standards of the units of luminous intensity and illumination | PR | Supplementary | 291/BY/03 | - | 1.4.1 | 2003 | BelGIM Tarasova O. 93, Starovilensky trakt, Minsk, 220053, Belarus phone. 234-98-20 fax: 2880938 optic@belgim.belpak.minsk.by | BelGIM Belarus | Finished in 2004 References “Metrlogia and divice design” BelGIM proceedings, Abstracts of 14 conference “Photometry and its metrology supporting) |
|  |  |  |  |  |  |  |  |  | NSC IM Ukraine |  |
| 2 | Comparisons of the internal ring diameters standards | L | Supplementary | 181/RU-a/99 | - | 2.4.2 | 2000 | VNIIM Abramova L. 19 Moskovsky av, 190005, Saint-Petersburg, Russia Phone/Fax 323-96-69 L.Ju.Abramova@vniim.ru | VNIIM Russia | Measurement Technique, 1, 2006, p.65 BelGIM, |
|  |  |  |  |  |  |  |  |  | NSC IM Ukraine |  |
|  |  |  |  |  |  |  |  |  | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | Ukrmetrteststandast Ukraine |  |
| 3 | Comparisons of Reference materials of paper against whiteness characteristic | PR | Pilot | 296/BY/03 | - | no | 2004 | BelGIM Tarasova O. 93, Starovilensky trakt, Minsk, 220053, Belarus phone. 234-98-20 fax: 2880938 optic@belgim.belpak.minsk.by | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | VNIIOFI Russia |  |
|  |  |  |  |  |  |  |  |  | Ukrmetrteststandast Ukraine |  |
| 4 | Comparisons of standards of spectral coefficients of directional transmission in ultra-violet (UV) and visible (VIS) spectrum range. | PR | Supplementary | 269/BY/03 | - | 4.1.1 | 2003 | BelGIM Tarasova O. 93, Starovilensky trakt, Minsk, 220053, Belarus phone. 234-98-20 fax: 2880938 optic@belgim.belpak.minsk.by | BelGIM Belarus |  |
|  |  |  |  |  |  |  |  |  | VNIIOFI Russia |  |
|  |  |  |  |  |  |  |  |  | Ukrmetrteststandast Ukraine |  |