| COOMET PROJECT FINAL REPORT |  |  |
| --- | --- | --- |
| 1. Ref No.: 352/RU-a/06 | 2. Subject field: Certified REFERENCE MATERIALS |  |
| 3. Field of cooperation: RESEARCH |  |  |
| 4. Working Group: Belarus, Kazakhstan, Moldova, Russia (VNII NP, ANO NPO “INTEGRSO”, UNIIM) |  |  |
| 5. Subject: Development of CRMs for fractional composition of petroleum products (petroleum fuel) (3 types) |  |  |
| 6. Progress: The works on the investigation of the values of certified characteristics of 3 CRM types for fractional composition of petroleum products (FS-1), (FS-2) and (FS-3) are completed. The organizations of Belarus, Kazakhstan, Moldova and Russia took part in certification analyses. The developed CRMs are approved in Russia as state CRMs under the numbers CRM 7947-2001, CRM 7948-2001 and CRM 7949-2001 respectively. The reports on the investigation of the values of CRM certified characteristics and documentation on CRMs were preliminary circulated among the national bodies of COOMET member-countries of the Contact Persons of TC 1.12 “CRMs”, agreed at the 14th COOMET meeting of COOMET TC 1.12 “CRMs”. The decision was taken to include CRMs for fractional composition of petroleum products (FS-1), (FS-2) and (FS-3) in the List of CRMs, agreed for the recognition as COOMET CRMs to be submitted to the 20th COOMET Committee meeting (April, 2010). CRMs for fractional composition of petroleum products (FS-1), (FS-2) and (FS-3) were recognized as COOMET CRMs at the 20th COOMET Committee meeting (resolution 25 of the minutes) and registered in the Register of COOMET CRMs under the numbers COOMET CRM 0069-2010-RU, COOMET CRM 0070-2010-RU and COOMET CRM 0071-2010-RU respectively. ARMENIA, BELARUS, BULGARIA, KAZAKHSTAN, KYRGYZSATAN, MOLDOVA and UKRAINE joined the CRM recognition as COOMET CRMs. CRMs are intended for accuracy control of test results of petroleum product fractional composition. The areas of application are petroleum, gas, chemical and petroleum refining industries. |  |  |
| 7. Coordinator’s name: OAO “VNII NP”: L.G. Nehamkina, Chief Metrologist, Head of metrological research laboratory. Address: 6, Aviamotornaya Str., Moscow, 111116 Telephone: (495) 361-2370 Fax: (495) 788-1553 E-mail: metrolvniinp@inetm.ru ANO NPO “INTEGRSO”: A. H. Muhamedzyanov, General Director Address: 149, October ave., Ufa, Republic of Bashkortostan Telephone: (347) 231-38-61 Fax: (347) 231-38-61 E-mail: integrso@ufanet.ru UNIIM: I.E Dobrovinsky, Head of Department of CRM State Service Address: 4, Krasnoarmeyskaya Str., Yekaterinburg, 620000, Russia Telephone: (343) 350-60-68 Fax: (343) 350-24-68 E-mail: dobrov@uniim.ru or E-mail: intermetron@uniim.ru |  |  |
| 8. Completion date: May, 2010 |  |  |
| 9. Coordinator’s signature: |  | 10. Date: 31.05.2010 |