| COOMET PROJECT FINAL REPORT |  |  |
| --- | --- | --- |
| 1. Ref: 405/RU-a/07 | 2. Subject Field : ACOUSTICS. ULTRASOUND. VIBRATION |  |
| 3. Type of cooperation: Comparison |  |  |
| 4. Partners: DNDI “Systema”, (Ukraine), FGUP VNIIFTRI (Russia) |  |  |
| 5. Subject: Comparisons of the sound pressure standards in water in the low frequency and in infrasound frequency range (from 2 kHz to 4 kHz) |  |  |
| 6. Description: The sources of uncertainty of the pressure hydrophones calibration in closed chambers at the third-octave frequencies in the frequency range from 2 Hz to 4 kHz have been Investigated. The techniques of comparisons of the Russian primary standard of sound pressure unit in water and the Ukrainian primary underwater acoustic standard have been worked out |  |  |
| 7. Additional remarks: The equivalence of the national standards of participating NMIs was confirmed |  |  |
| 8. Coordinator’s name: Isaev A. E. Address: Moscow region 141570, Russia, VNIIFTRI Phone: +7 (495) 660-21-66 Fax : +7 (495) 535-93-13, +7 (495) 660-25-39 E-mail: isaev@vniiftri.ru, nekrich53@mail.ru |  |  |
| 9. End date: 16 December 2008 |  |  |
| 10. Coordinator’s signature: |  | 11. Date: 3 June 2011 |