| COOMET PROJECT FINAL REPORT |  |  |
| --- | --- | --- |
| 1. Ref. №: 502/RU-a/10 | 2. Subject field: Certified reference materials |  |
| 3. Field of cooperation: COMPARISONS |  |  |
| 4. Working Group: Belarus, Kazakhstan, Russia, UK, Ukraine. |  |  |
| 5. Subject: International comparison tests of CRM for composition of copper oxide (ОМ-2, ОМ-7) |  |  |
| 6. Progress: The works on comparison tests of 2 CRM types (ОМ-2, ОМ-7) from the set of CRMs for composition of copper oxide (OM set) for 17 and 16 elements respectively are finalized. The laboratories of Belarus, Kazakhstan, Russia, UK and Ukraine participated in the experimental works on comparisons. As a result of international comparisons a good agreement of measurement results and confirmation of CRM characteristics from OM set for composition of copper oxide was established, which was the basis for the recognition of MG set as a whole as COOMET CRM. The scope of works and methods of evaluation of the obtained results are laid down in the report, circulated together with documentation on CRM set among the Contact Persons of TC 1.12 “CRMs”. The progress of works and obtained results were preliminary considered at the 16th meeting of COOMET TC 1.12 “CRMs”, where it was agreed to include the OM set in the List of CRMs recommended for the recognition as COOMET CRMs to the 22nd COOMET Committee meeting (April, 2012). ARMENIA, AZERBAIJAN, BELARUS, BULGARIA, KAZAKHSTAN, KYRGYZSATAN, MOLDOVA and UZBEKISTAN joined the recognition of OM set as COOMET CRM. At the 22nd COOMET Committee meeting (resolution 19 of the minutes) OM set was recognized as COOMET CRM and registered in the Register of COOMET CRMs under the number COOMET CRM 0107-2012-RU. MO set is intended for calibration of spectral equipment and gas analyzers in the determination of copper, grades M00k, M0k, M1k (GOST 859-2001) according to GOST 9717.3-82, GOST 27981.3-88, certified measurement procedures (MP) and for MP certification. CRMs may be used for MP error control with a ratio of the error of CRM certified value and MP error not exceeding 1:3. Field of application: metallurgy. |  |  |
| 7. Coordinator’s name: T. Shabelnikova, the Head of the Centre for the development of reference materials (CDRM), E. Yakovleva, leading engineer of CDRM, “Institute Gipronickel, Ltd” Address: 11, Grazhdansky pr., Saint Petersburg, 195220, Russia Telephone: (812) 335-30-73 Fax: (812) 335-31-87 E-mail: shabco2008@mail.ru |  |  |
| 8. Completion date: June, 2012 |  |  |
| 9. Coordinator’s signature: |  | 10. Date: 13 June 2012 |