|  | COOMET Document | COOMET P2/2017 |
| --- | --- | --- |
|  | COOMET PROGRAM OF COMPARISONS |  |
| Approved at the 21th meeting of COOMET President's Council ( Astana, Kazahstan, 08-09 November 2016) |  | as of 20.11.2017 |

| 148 | projects. From 1.11.2016: 13 - proposed; 4 - agreed; 17 - completed; 2 - excluded; |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| AUV - Acoustics, Ultrasound and Vibrations. |  |  |  |  |  |  |
| 7 | projects. From 1.11.2016: 0 - proposed; 0 - agreed; 5 - completed; 0 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 08.09.2016 | 706/RU/16 | Proposal | Comparison of longitudinal ultrasonic wave propagation velocity in solid media | pilot |  |
|  | 12.12.2014 | 646/RU/14 | Agreed | Pilot comparisons of underwater particle velocity receiver in the frequency range from 5 Hz to 4,0 kHz | pilot |  |
|  | 15.02.2017 | 535/UA-a/11 | Completed | Comparison of the standards of the unit of power ultrasound in the water in the frequency range from 2 to 15 MHz | key COOMET.AUV.U-K3 |  |
|  | 27.07.2017 | 626/BY-a/13 | Completed | Comparison of national standards of the sound pressure unit in air through calibration of the pressure-inch and half-inch microphones. | supplementary COOMET.AUV.A-S2 |  |
|  | 15.05.2017 | 609/UA-a/13 | Completed | Comparison of national standards of the sound pressure unit in air through calibration of the pressure-inch and half-inch microphones. | pilot |  |
|  | 15.02.2017 | 666/UA-a/15 | Completed | Key comparison of the standards of the unit of sound pressure in the air in the frequency range from 2 Hz to 10 KHz | key COOMET.AUV.A-K5 |  |
|  | 16.05.2017 | 308/RU-a/04 | Completed | Key Comparison of the National Measurement Standards of the vibration parameters units (in regard to the vibration acceleration) in the frequency range from 20 Hz to 5 kHz | key COOMET.AUV.V-K1 |  |
| EM - Electricity And Magnetism . |  |  |  |  |  |  |
| 16 | projects. From 1.11.2016: 0 - proposed; 2 - agreed; 1 - completed; 0 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 10.10.2016 | 710/RU/16 | Proposal | Conduct additional bilateral comparisons of standards of pulse voltage | pilot |  |
|  | 10.10.2016 | 709/RU/16 | Proposal | Conduct additional bilateral comparisons of standards of harmonic distortion | pilot |  |
|  | 25.02.2016 | 683/RU/16 | Proposal | Comparison of the standard of the Russian Federation ГЭТ 202-2012 and the standards of Finland, France and Germany in the field of reproduction and measurement of the pulse current unit over the range from 1 up to 100 kA. | pilot |  |
|  | 25.02.2016 | 682/RU/16 | Proposal | Comparison of the standards of the Russian Federation ГЭТ 178-2010 and ГЭТ 148-2013 and the standards of Republic of Korea, People's Republic China and Germany in the field of reproduction and measurement of the intensity units of pulse electric and magnetic fields with the pulse rise time over the range from 20 ps up to 10 ns. | pilot |  |
|  | 27.06.2014 | 644/BY/14 | Proposal | Supplementary comparison of standards for attenuation of the electromagnetic oscillations | supplementary |  |
|  | 27.06.2014 | 643/BY/14 | Proposal | Supplementary comparison of standards unit power electromagnetic oscillations | supplementary |  |
|  | 30.08.2012 | 567/UA/12 | Proposal | Comparisons of national standards of HF voltage | KCDB |  |
|  | 27.08.2012 | 565/RU/12 | Proposal | International pilot comparison of Q factor standards | supplementary COOMET.EM-S15 |  |
|  | 07.05.2009 | 468/RU/09 | Proposal | Additional comparisons of amplitude modulation depth HF oscillations | supplementary COOMET.EM-S9 |  |
|  | 01.11.2002 | 267/RU/02 | Proposal | Comparison of Standards the units of electromagnetic power flux density (W/m2) at frequencies of 2,45 GHz and 10,0 GHz | supplementary COOMET.EM.RF-S1 |  |
|  | 03.05.2017 | 707/RU-a/16 | Agreed | Bilateral comparisons of reference switching impulse voltage measuring systems in the range from 1 to 100 kV | supplementary COOMET.EM-S21 |  |
|  | 13.07.2016 | 695/UA-a/16 | Agreed | Key comparison of power | key COOMET.EM-K5 |  |
|  | 07.06.2016 | 681/RU-a/16 | Agreed | Supplementary comparison of the measurement of current transformers (CTs) | supplementary COOMET.EM-S22 |  |
|  | 14.02.2017 | 686/MD-a/16 | Agreed | Bilateral comparison of 1.018 V and 10 V Zener DC voltage reference standards | supplementary COOMET.EM-S20 |  |
|  | 12.05.2015 | 624/GE-a/13 | Agreed | Comparison of electrical resistance standards at 100 Ω and 100 kΩ | supplementary COOMET.EM-S19 |  |
|  | 03.05.2017 | 604/RU-a/13 | Completed | Supplementary comparisons of reference measuring systems of electric capacitance and loss factor on AC high voltage of power frequency in the voltage range from 1 to 150 kV Capacity: 27 pF, 50 pF, 314 pF, 1000 pF Frequency: 50 Hz | supplementary COOMET.EM-S18 |  |
| L - Length. |  |  |  |  |  |  |
| 21 | projects. From 1.11.2016: 1 - proposed; 0 - agreed; 0 - completed; 0 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 10.02.2017 | 714/UA/17 | Proposal | Comparison of standards for the measurement of end measures of length interference method in the range of 200 to 1000 mm | supplementary |  |
|  | 01.09.2016 | 705/UA/16 | Proposal | Measurement of two-dimensional standard for coordinate measuring machines. | pilot |  |
|  | 01.04.2016 | 690/RU/16 | Proposal | International comparisons of internal and external diameter gauges | pilot |  |
|  | 05.10.2015 | 676/MD/15 | Proposal | Calibration of gauge blocks by comparison | supplementary COOMET.L-S20 |  |
|  | 21.09.2015 | 674/UA/15 | Proposal | Comparison of standards nanometer range | pilot |  |
|  | 16.02.2015 | 657/UA/15 | Proposal | Comparison of the measurement standards of the line scales between 1 mm and 1000 mm. | pilot |  |
|  | 01.08.2013 | 612/UA/13 | Proposal | Comparison of line scales up to 100 mm | pilot |  |
|  | 19.07.2013 | 610/UA/13 | Proposal | Comparisons of standards of flatness diameter up to 300 mm | supplementary |  |
|  | 29.12.2012 | 591/UA/12 | Proposal | Comparisons of precise navigation systems GPS/GLONASS | supplementary |  |
|  | 29.12.2012 | 590/UA/12 | Proposal | Comparison of precise rangefinder systems | supplementary |  |
|  | 29.08.2012 | 564/RU/12 | Proposal | Comparisons of measurement standards of length unit in the field of sphere deviation measurements | supplementary |  |
|  | 29.08.2012 | 563/RU/12 | Proposal | Comparisons of measurement standards of length unit in the field of roundness deviation measurements | supplementary COOMET.L-S17 |  |
|  | 21.06.2011 | 529/RU/11 | Proposal | Comparison of interferometers for measurement of tapes up to 20 m | supplementary |  |
|  | 18.04.2011 | 524/UA/11 | Proposal | Intercomparison of the national standards unit of the plane angle | key COOMET.L-K3 |  |
|  | 17.11.2008 | 440/RU/08 | Proposal | International comparison of stabilized He-Ne/I2 lasers at 633 nm | supplementary COOMET.L-S9 |  |
|  | 02.09.2016 | 658/BY-a/15 | Agreed | Comparisons of national measurement standards for deviations from linearity and flatness; the measurement range for deviations from linearity is 0 to 50 μm, the surface length is 0.4 to 5 m. | supplementary COOMET.L-S19 |  |
|  | 24.12.2015 | 634/UA-a/14 | Agreed | Comparison of measurement standards of gravitational acceleration unit in the range of 9.77 m/s2 to 9.85 m/s2 | supplementary COOMET.M.G-S1 |  |
|  | 24.12.2015 | 673/UA-a/15 | Agreed | Comparison of initial measuring instruments of the parameters of involute gears. | supplementary COOMET.L-S18 |  |
|  | 09.01.2014 | 570/UA-a/12 | Agreed | Comparisons of standards of flatness | supplementary COOMET.L-S15 |  |
|  | 09.01.2014 | 569/UA-a/12 | Agreed | Comparison of length standards in the range of 0.001 to 1 mm | supplementary COOMET.L-S14 |  |
|  | 09.01.2014 | 568/UA-a/12 | Agreed | Comparisons of reference measuring instruments of surface parameters | supplementary COOMET.L-S13 |  |
| M - Mass And Related Quantities . |  |  |  |  |  |  |
| 31 | projects. From 1.11.2016: 9 - proposed; 0 - agreed; 0 - completed; 0 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 13.11.2017 | 737/UA/17 | Proposal | Bilateral comparison of national force standards | KCDB |  |
|  | 20.07.2017 | 726/UZ/17 | Proposal | Comparison of stainless steel mass standards | KCDB |  |
|  | 21.06.2017 | 723/AZ/17 | Proposal | Bilateral supplementary comparison in the gauge pressure range from 0 MPа to 34 MPa | supplementary COOMET.M.P-S5 |  |
|  | 21.06.2017 | 722/AZ/17 | Proposal | Bilateral supplementary comparison using reference standards with nominal values of 100 mg, 2 g, 20 g, 500 g, 5 kg of E2 accuracy class. | supplementary COOMET.M.M-S4 |  |
|  | 06.04.2017 | 719/GE/17 | Proposal | Bilateral supplementary comparison in the Small Volumes range from 10μL to 100μL | supplementary |  |
|  | 06.04.2017 | 718/GE/17 | Proposal | Bilateral supplementary comparison in the absolute pressure range from 0 MPa to 7 MPa and gauge pressure range from 0 MPa to 2 MPa | supplementary COOMET.M.P-S4 |  |
|  | 14.03.2017 | 717/RU/17 | Proposal | Supplementary comparison of national reference instruments of the pressure unit in the range from 250 MPa to 1500 MPa. | supplementary COOMET.M.P-S3 |  |
|  | 08.02.2017 | 712/TR/16 | Proposal | Comparison of absolute pressure in the range 0,03 Pa to 13 Pa | supplementary COOMET.M.P-S2 |  |
|  | 08.02.2017 | 711/TR/16 | Proposal | Comparison of absolute pressure in the range 0,3 mPa to 0,9 Pa | key COOMET.M.P-K15 |  |
|  | 28.04.2016 | 694/MD/16 | Proposal | Comparison of mass standards with nominal values of 100 mg, 20 g, 1 kg and 10 kg | supplementary COOMET.M.M-S3 |  |
|  | 14.10.2015 | 677/BY/15 | Proposal | Key comparison in field of force measurement from 0 to 5000 N, from 2 to 100 kN, from 1 to 500 kN, from 10 to 2000 kN | key |  |
|  | 17.07.2015 | 670/GE/15 | Proposal | Comparison of mass standards with nominal values of 100 mg, 5 g, 50 g and 1 kg | pilot |  |
|  | 20.05.2015 | 665/UA/15 | Proposal | Supplementary bilateral comparison in the field of mass measurements | supplementary COOMET.M.M-S2 |  |
|  | 29.10.2014 | 651/RU/14 | Proposal | Supplementary bilateral comparison of national reference instruments for nanoindentation | supplementary COOMET.M.H-S2 |  |
|  | 12.09.2013 | 621/RU/13 | Proposal | Supplementary comparisons of national standards of torque | supplementary |  |
|  | 29.11.2012 | 586/RU/12 | Proposal | Pilot comparison in the field of measurements of liquids kinematical viscosity. | pilot |  |
|  | 28.12.2011 | 548/UA/11 | Proposal | Supplementary bilateral comparisons of submultiply and multiply units of kilogram | supplementary |  |
|  | 13.05.2011 | 528/KZ/11 | Proposal | Pilot comparisons of submultiply and multiply units of kilogram | pilot |  |
|  | 25.06.2005 | 341/RU/05 | Proposal | Key comparison of Brinell and Vickers hardness scales | key COOMET.M.H-K1 COOMET.M.H-S4 |  |
|  | 14.01.2004 | 295/RU/03 | Proposal | Mutual Comparisons of the He leaks in range (10-6-1) m3 . Pa/s | key |  |
|  | 04.09.2015 | 638/UA-a/14 | Agreed | The comparison of the national hardness standards of Super-Rockwell scales. | supplementary COOMET.M.H-S3 |  |
|  | 30.01.2015 | 546/UA-a/11 | Agreed | Key comparisons in the field of mass measurements | key COOMET.M.M-K8 |  |
|  | 28.01.2014 | 589/UA-a/12 | Agreed | Supplementary comparison of national measurement standards of gauge pressure in the range from 1 МPа to 10 МPа | supplementary COOMET.M.P-S1 |  |
|  | 28.01.2014 | 560/UA-a/12 | Agreed | The comparison of the national hardness standards of Rockwell and Super-Rockwell scales. | key COOMET.M.H-K3 |  |
|  | 17.10.2013 | 259/RU/02 | Agreed | COOMET comparisons in the field of force measurements | supplementary COOMET.M.F-S1 |  |
|  | 02.08.2013 | 515/UA-a/11 | Agreed | Bilateral comparison of the force primary standards | supplementary COOMET.M.F-S2 |  |
|  | 18.04.2013 | 545/UA/11 | Agreed | Comparisons of complex of static volume measuring devices | supplementary COOMET.M.FF-S6 |  |
|  | 29.03.2013 | 555/AZ-a/12 | Agreed | Supplementary comparisons of COOMET in the field of measurements of liquids density. | supplementary COOMET.M.D-S1 |  |
|  | 28.03.2013 | 588/RU-a/12 | Agreed | Supplementary comparisons of COOMET in the field of measurements of liquids kinematical viscosity | supplementary COOMET.M.V-S1 |  |
|  | 28.03.2013 | 587/RU-a/12 | Agreed | Supplementary comparisons of COOMET in the field of measurements of liquids kinematical viscosity | supplementary COOMET.M.V-S2 |  |
|  | 08.12.2011 | 512/RU-a/10 | Agreed | Supplementary bilateral comparison of national standards of torque | supplementary COOMET.M.T-S1 |  |
| F - Fluid Flow . |  |  |  |  |  |  |
| 9 | projects. From 1.11.2016: 0 - proposed; 0 - agreed; 0 - completed; 0 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 01.03.2016 | 685/MD/16 | Proposal | Comparisons of liquid flow rate standards. | pilot |  |
|  | 01.03.2016 | 684/MD/16 | Proposal | Comparisons of gas flow rate standards | pilot |  |
|  | 21.01.2016 | 679/RU/16 | Proposal | Comparisons of national standards in the field of gas flow rate and volume, gas flow rates from 1 to 100 m3/h | pilot |  |
|  | 09.03.2017 | 680/RU-a/16 | Agreed | Comparisons of national standards in the field of gas flow rate and volume, gas flow rates from 20 to 6500 m3/h | pilot |  |
|  | 30.01.2015 | 652/UA-a/14 | Agreed | Bilateral comparisons of low pressure gas volume and volume flow standards | supplementary |  |
|  | 02.06.2013 | 585/UA-a/12 | Agreed | Supplementary comparisons of critical nozzle - standards of transfer units for gas flow | supplementary COOMET.M.FF-S5 |  |
|  | 23.12.2009 | 452/SK-a/09 | Agreed | Comparison of cold water flow calibration laboratories in a range of flow rates (3 - 20) m3/h | supplementary COOMET.M.FF-S4 |  |
|  | 15.04.2009 | 406/UA-а/07 | Agreed | Comparisons of mass and volume units national standards | supplementary COOMET.M.FF-S2 |  |
|  | 30.07.2008 | 412/UА/07 | Agreed | Realization of reference gas flow meter's test rigs comparisons in flow range: (4-160) m3/h. | supplementary COOMET.M.FF-S3 |  |
| PR - Photometry And Radiometry . |  |  |  |  |  |  |
| 15 | projects. From 1.11.2016: 2 - proposed; 0 - agreed; 0 - completed; 0 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 09.11.2017 | 736/RU/17 | Proposal | Diffuse absorbance of transmitted samples | KCDB |  |
|  | 09.11.2017 | 735/RU/17 | Proposal | Diffuse absorbance of reflecting samples. | KCDB |  |
|  | 11.03.2016 | 688/RU/16 | Proposal | Comparison on Polarization Mode Dispersion in Optical Fiber | supplementary COOMET.PR-S9 |  |
|  | 14.09.2015 | 639/BY/14 | Proposal | Comparison of surface colour | supplementary |  |
|  | 04.12.2014 | 653/RU/14 | Proposal | Spectral Irradiance, from 200 nm to 350 nm | key COOMET.PR-K1.b.1 |  |
|  | 04.02.2014 | 636/UA/14 | Proposal | Comparisons of luminous flux national standards | key COOMET.PR-K4.1 |  |
|  | 02.09.2016 | 689/RU-a/16 | Agreed | Supplementary comparison on Wavelength for Fibre Optic | supplementary COOMET.PR-S8 |  |
|  | 14.09.2015 | 640/BY-a/14 | Agreed | Comparison of colour, transmitted | supplementary COOMET.PR-S10 |  |
|  | 07.11.2013 | 599/RU-a/13 | Agreed | Comparison of Laser Power Standards at wavelengths of 0,532; 1,064 and 10,6 mkm | supplementary COOMET.PR-S7 |  |
|  | 07.11.2013 | 577/RU-a/12 | Agreed | Comparison on Fibre Optic Power Responsivity | supplementary COOMET.PR-S6 |  |
|  | 10.08.2011 | 429/CU-a/08 | Agreed | Comparisons of measurement standards of the units of spectral regular transmittance in the (250 to 900) nm wavelength range | supplementary COOMET.PR-S5 |  |
|  | 10.08.2011 | 366/RU-a/06 | Agreed | Comparison of whiteness samples using the secondary standard of the units of colour coordinates and the coloration coordinates | supplementary COOMET.PR-S1 |  |
|  | 18.04.2011 | 439/RU-a/08 | Agreed | International comparisons of national measurement standards of the unit of an angle of rotation of a plane of polarization | supplementary COOMET.PR-S2 |  |
|  | 18.04.2011 | 438/RU-a/08 | Agreed | International comparisons of national measurement standards of the unit of refractive index | supplementary COOMET.PR-S3 |  |
|  | 18.04.2011 | 368/BY-a/06 | Agreed | Bilateral comparisons of the units of luminous intensity and illumination | key COOMET.PR-K3.a |  |
| QM - Amount Of Substance . |  |  |  |  |  |  |
| 26 | projects. From 1.11.2016: 0 - proposed; 2 - agreed; 9 - completed; 0 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 26.09.2016 | 708/RU/16 | Proposal | Pilot comparison "Characterization of organic substances for chemical purity by mass balance method. Antracene" | pilot |  |
|  | 22.06.2016 | 696/RU/16 | Proposal | Pilot comparisons in the field of measuring the mass fraction of silver and gold in epithermal gold ore | pilot |  |
|  | 21.12.2015 | 678/RU/15 | Proposal | Key comparison of national measurement standards in the field of analysis of gas mixture of C3H8 in nitrogen | key COOMET.QM-K111 |  |
|  | 04.08.2015 | 672/RU/15 | Proposal | Pilot comparisons in the field of measuring the mass fraction of iron in iron | pilot |  |
|  | 25.12.2014 | 654/RU/14 | Proposal | Pilot comparison measurement in the field of human serum (category 10.1): Cholesterol in human serum | pilot |  |
|  | 07.10.2014 | 650/RU/14 | Proposal | Pilot comparisons in the field of metals mass fraction measurements (Al, As, Ca, Mg, Pb, Sb, Au, Ag, Ni) in slag (Part II) | pilot |  |
|  | 08.09.2014 | 649/RU/14 | Proposal | Pilot comparison "Study in the field of measuring of formed elements of blood: erythrocytes (RBC), leukocytes (WBC)" | pilot |  |
|  | 10.07.2014 | 645/RU/14 | Proposal | Pilot comparisons in the field of measuring the mass fraction of copper and impurities in the oxygen-free copper wire rod KMB M001b brand for determination of copper purity | pilot |  |
|  | 27.09.2013 | 622/RU/13 | Proposal | Pilot comparison "Measurement of (C3-C5) components content in mixtures of liquefied hydrocarbons" | supplementary COOMET.QM-S4 |  |
|  | 20.08.2013 | 618/RU/13 | Proposal | Pilot comparison in the field of Ni-based alloy elemental analysis | pilot |  |
|  | 26.11.2012 | 583/RU/12 | Proposal | Pilot comparison: determination of dissolved oxygen in water concentration at the wide range | pilot |  |
|  | 09.10.2012 | 575/RU/12 | Proposal | Pilot comparisons in the field of air nanoparticles number concentration measurements in the size range of 20 to 500 nm | pilot |  |
|  | 09.10.2012 | 574/RU/12 | Proposal | Pilot comparisons in the field of air particle number concentration measurements in the size range of 0,5 μm and larger | pilot |  |
|  | 09.10.2012 | 573/RU/12 | Proposal | Pilot comparisons in the field of air ion number concentration measurements | pilot |  |
|  | 25.10.2016 | 655/RU-a/15 | Agreed | Pilot study on pH measurement of phosphate buffer (pH ~ 7.0). | pilot |  |
|  | 19.06.2017 | 691/RU-a/16 | Agreed | Pilot comparison "Determination of polychlorinated dibenzo-p-dioxins and dibenzofurans in fatty matrixes (pork fat)" | pilot |  |
|  | 14.02.2017 | 611/RU-a/13 | Agreed | Pilot comparison in the field of food safety (category 11.2: contaminants): melamine in milk powder | pilot |  |
|  | 03.11.2017 | 692/RU/16 | Completed | Pilot comparisons in the field of measuring of the moisture content in wood | pilot |  |
|  | 27.02.2017 | 664/RU/14 | Completed | Supplementary comparisons of primary standard gas mixtures "Ambient air: Carbon monoxide (СО) in nitrogen 5 μmol/mol" | supplementary COOMET.QM-S3.2015 |  |
|  | 21.02.2017 | 576/RU-a/12 | Completed | Comparison of national measurement standards in the field of analysis of gas mixture of CO2, CO, C3H8 in nitrogen ("automotive" gas mixtures) | supplementary COOMET.QM-S5 |  |
|  | 27.02.2017 | 615/RU-a/13 | Completed | Comparison in the field of measuring of the Ethanol mass fraction in Nitrogen. | key COOMET.QM-K93 |  |
|  | 15.02.2017 | 596/RU-a/13 | Completed | Determination of α-НСН, β-НСН, γ- НСН in tea | pilot |  |
|  | 27.02.2017 | 608/RU-a/13 | Completed | Comparisons of primary standard gas mixtures: Gravimetry production of CO in nitrogen (3 μmol/mol) | supplementary COOMET.QM-S3 |  |
|  | 21.02.2017 | 556/RU-a/12 | Completed | Comparisons of primary standard gas mixtures: Gravimetry production of CH4 in synthetic air (100 μmol/mol) | supplementary COOMET.QM-S2 |  |
|  | 20.02.2017 | 484/RU-a/09 | Completed | Key comparisons of primary standards of concentration of components in gas media - SO2 in Nitrogen (100 µmol/mol) | key COOMET.QM-K76 |  |
|  | 20.02.2017 | 483/RU-a/09 | Completed | Supplementary comparison of primary standard gas mixtures: NO in Nitrogen (50 µmol/mol) | supplementary COOMET.QM-S1 |  |
| RI - Ionizing Radiation . |  |  |  |  |  |  |
| 8 | projects. From 1.11.2016: 0 - proposed; 0 - agreed; 2 - completed; 2 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 22.01.2014 | 635/DE/14 | Proposal | Comparison of the national standards of air kerma for x-radiation qualities used in radiation protection, general diagnostic radiology, computed tomography and mammography | supplementary COOMET.RI(I)-S4 |  |
|  | 29.10.2007 | 410/UА/07 | Proposal | COOMET Regional comparisons of National standards of consumed dose unit in water for gamma-radiation Co-60 | KCDB |  |
|  | 30.03.2007 | 389/RU/07 | Proposal | Comparison of the well-type ionization chamber (IC) calibrations factors for the medical radionuclides ("Dosecalibrators"). | KCDB |  |
|  | 14.09.2015 | 641/BY-a/14 | Agreed | Comparison of the national standards of air kerma for x-radiation qualities used in radiation protection and diagnostic radiology | supplementary COOMET.RI(I)-S3 |  |
|  | 15.05.2017 | 445/DE/08 | Completed | Comparison of the national standards of air kerma for Cs-137 at protection level | supplementary COOMET.RI(I)-S1 |  |
|  | 18.05.2017 | 423/RU/08 | Completed | Standardization of Eu-152 radionuclide solution | key COOMET.RI(II)-K2.Eu-152 |  |
|  | 15.05.2017 | 447/DE/08 | Excluded | Comparison of the national standards of air kerma for medium-energy x-rays | supplementary COOMET.RI(I)-S2 |  |
|  | 15.05.2017 | 446/DE/08 | Excluded | Comparison of the national standards of air kerma for low-energy x-rays | KCDB |  |
| T - Termometry . |  |  |  |  |  |  |
| 12 | projects. From 1.11.2016: 1 - proposed; 0 - agreed; 0 - completed; 0 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 21.06.2017 | 721/AZ/17 | Proposal | "Platinum resistance thermometers" range from (-40 ÷ 660) °C | supplementary |  |
|  | 26.08.2016 | 704/RU/16 | Proposal | Comparisons of temperature national standards at the triple point of mercury. | key COOMET.T-K9.1 |  |
|  | 10.06.2014 | 642/MD/14 | Proposal | Comparisons for measurements in the calibration of industrial platinum resistance thermometers | supplementary COOMET.T-S2 |  |
|  | 17.10.2013 | 623/RU/13 | Proposal | Bilateral comparisons of national standards of the energy of combustion by means of solid and liquid fuels | KCDB |  |
|  | 12.02.2013 | 593/RU/13 | Proposal | Regional key comparisons of national standards of unit of temperature in the range from 0,01 to 660,323 ° C | key COOMET.T-K3.3 |  |
|  | 11.02.2013 | 592/SK/13 | Proposal | Comparisons of temperature national standards at the triple point of mercury | KCDB |  |
|  | 29.01.2010 | 487/RU/10 | Proposal | The regional comparisons of thermocouples of types S | supplementary COOMET.T-S1 |  |
|  | 29.01.2010 | 486/RU/10 | Proposal | Regional comparisons of copper cells for contact thermometry | KCDB |  |
|  | 12.07.2013 | 598/RU-a/13 | Agreed | Pilot comparisons of national standards in the field of measuring of solids specific heat | pilot |  |
|  | 13.12.2012 | 544/RU/11 | Agreed | Regional comparison humidity standards of gases. Dew/frost point temperature -50 °C to +20 °C | KCDB |  |
|  | 30.11.2012 | 549/RU-a/12 | Agreed | The pilot thermal conductivity comparison in the range from 0.03 to 0.2 W·m-1·K-1 at temperature from 10 to 40 °C | pilot |  |
|  | 16.04.2007 | 285/RU/03 | Agreed | Regional comparisons of national standards for temperature measurements in the range from the triple point of mercury to the zinc freezing point | key COOMET.T-K3 |  |
| TF - Time and Frequency. |  |  |  |  |  |  |
| 3 | projects. From 1.11.2016: 0 - proposed; 0 - agreed; 0 - completed; 0 - excluded; |  |  |  |  |  |
|  | actualisation | project number | state | subject | type of comparison |  |
|  | 07.11.2013 | 625/RU/13 | Proposal | Pilot study (comparison) of time scales of NTP-servers via INTERNET | pilot |  |
|  | 07.05.2013 | 605/RU/13 | Proposal | Comparison of time scales of NTP-servers via INTERNET | KCDB |  |
|  | 06.06.2007 | 398/RU/07 | Proposal | Comparisons of the National Standards of Time and Frequency with RF scale UTC(SU) | KCDB |  |